| # New Hampshire Fire Standards and Training Commission |  |
| --- | --- |
| Approved Curriculum |  |
| First Responder Inspector NFPA 1030, 2024 (Chapter 6) |  |
| Approved by the New Hampshire Fire Standards and Training Commission |  |
| Commission Approval: | Date: |

Curriculum Information Sheet

| Course Title: |  | First Responder Inspector (Formerly Fire Inspector I) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| National Standard: |  | NFPA® 1030, Chapter 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Current Edition: |  | 2024 |  |  |  |  |  |  | Next Edition: |  |  | 2029 |  |  |  |  |  |
| Curriculum Components (All components are required by § Fire 402.03) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Subject areas/modules |  |  |  |  | Hours per module |  |  |  |  |  |  | Content of module |  |  |  |  |
|  | Teaching methodology |  |  |  |  | Description of aids |  |  |  |  |  |  | Description of references |  |  |  |  |
|  | Required facilities |  |  |  |  | Performance objectives |  |  |  |  |  |  | Certification description |  |  |  |  |
|  | Alignment with standard |  |  |  |  | Student/Instructor ratio |  |  |  |  |  |  | Min/max students |  |  |  |  |
|  | Prerequisites |  |  |  |  | Equipment list |  |  |  |  |  |  |  |  |  |  |  |
| Administrative Information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Certification: |  |  | NH FSTC Certification |  |  |  | X |  | Pro Board® Accredited |  |  |  |  |  |  | Certificate of Attendance |  |
| Class Size: |  | Minimum: |  |  | 4 |  |  | Maximum: |  | 16 |  |  |  |  | S:I Ratio |  | 1:16 |
| Clock Hours: |  | In-person: |  |  | 24 |  |  | Online: |  | 0 |  |  |  |  | Self-paced: |  | 3 |
| Student Prerequisites: |  | - Highschool Diploma, equivalent, or greater. - Hazardous Materials Awareness (NFPA 470) certification. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Approved References: |  | - Any textbook that correlates with Chapter 6 of NFPA® 1030, 2024 Edition - NFPA® 1 Fire Code* - NFPA® 101 Life Safety Code* - NH Rev Stat § 153:1- State Fire Code* - NH Rev Stat § 153:14* - NH Rev Stat § 154:2* - Chapter Saf-C 6000 – Fire and Life Safety Rules* * Version or edition currently adopted by the State of New Hampshire. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Required Facilities |  | - Classroom of appropriate size for the anticipated number of students. - Facilities capable of replicating or simulating fire and life safety code violations. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description of Visual Aids |  | - PowerPoint slides, maps/plans, inspection forms and checklists. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Process History |  |  |
| --- | --- | --- |
| FSTC Approves Development: | 7 March 2024 |  |
|  | Date of meeting in which minutes reflect the approved motion. |  |
| Visiting Committee Endorsement: |  |  |
|  | Date of meeting in which minutes reflect the approved motion. |  |
| Curriculum Committee Endorsement: |  |  |
|  | Date of meeting in which minutes reflect the approved motion. |  |
| NH FSTC Preliminary Approval: |  |  |
|  | Date of meeting in which minutes reflect the approved motion. |  |
| Public Hearings: | Daytime | Evening |
|  | Date, time, location | Date, time, location |
| 60-Day Public Comment: |  |  |
|  | Start date ― End date |  |
| Note: The date of commission approval appears on the front cover of this document. |  |  |

# Visiting Committee Members

The New Hampshire Fire Standards and Training Commission and the New Hampshire Division of Fire Standards and Training and Emergency Medical Services thanks the following voting members of the Visiting Committee who volunteered their guidance and expertise to the development of this curriculum.

| Name | Position | Organization |
| --- | --- | --- |
| C. Casey Burrage | Firefighter | Rindge Fire Department |
| Adinara Challinor | Fire Inspector | Epping Fire |
| David Eastman | Fire Marshal | Derry Fire Department |
| Philip Biron | District Chief | Office of the State Fire Marshal |
| Brian Rapp | Deputy Chief | Claremont Fire Department |
| Louis Loutrel | Fire Chief | Laconia Fire Department |
| Riley Stanchina | Fire Chief | Milford Fire Department |
| Jason Smedick | FSTC Representative | NH Fire Standards and Training Commission |
| Nicholas Bibeau | Program Captain | NH Division of Fire Standards and Training & EMS |

Additional thanks to the following people for contributing the benefit of their experience to the Visiting Committee:

- Peter Lennon, Fire Marshal, Manchester Fire Department (Retired)

- Shawn Wheeler, Fire Inspector, City of Portsmouth Fire Department

- Christopher Wyman, Fire Investigator, Merrimack Fire Rescue

- Jason Fritz, Deputy Fire Chief, Exeter Fire Department

- Matthew Newton, Fire Prevention Officer, Hampton Fire Rescue

# Curriculum History

The first Fire Inspector I program was run in June of 2002 based on the 1998 standards. It was first accredited by The Pro Board in 2003. The program was subsequently updated in 2005, 2011, and 2014. In 2024, as part of the NFPA Emergency Response & Responder Safety (ERRS) Consolidation Project, the standards for all levels of Fire Inspector were moved to NFPA 1030. As part of this process, the standards for Fire Inspector I were modified to make the certification more accessible for smaller agencies and the certification was renamed to First Responder Inspector.

NFPA 1030 defines the First Responder Inspector as someone who performs basic fire safety inspections, including specific code and standard sections, at the direction of the AHJ. Individuals at this level can include firefighters who are normally assigned to fire suppression or other individuals whose primary job responsibilities are not fire inspection. This is a departure from the 1031 Inspector I who operates more independently. The First Responder Inspector level does not cover information in the detail or depth that a Fire Inspector (formerly Fire Inspector II) would require. It is recommended that a First Responder Inspector be overseen by, or in direct contact with a certified Fire Inspector.

# Summary of Changes

While the foundational content of fire inspection has not shifted significantly, this updated curriculum introduces significant changes to the structure of the program. The following is a list of major changes:

- Introductory Module. Addition of an introductory module, intended to be delivered online and to prepare all students to better engage during the classroom portions of the course.

- Focus on Practical Application. Practical skills have been clearly defined and

# Learning Outcome

By the end of this course, those with professional or statutory need to perform fire inspection activities within New Hampshire municipalities will be able to inspect existing occupancies, determine compliance and need for permitting, and participate in legal proceedings as a fact witness in accordance with federal regulations, state statutes and rules, and local ordinances and policies by demonstrating the ability to read plans, reference and apply code, and conduct inspections to identify and communicate violations in oral or written format.

# Prerequisites

## High School Diploma

NFPA 1030 6.1.3.1 requires that to train as a first responder inspector, the student should possess, at a minimum, skill in written and oral communication. The NFPA suggests that evidence of this knowledge could be shown by documentation of high school or college coursework. English literacy is a core requirement for high school graduation throughout the United States, and most accredited institutions of higher education require English composition or equivalent courses to be eligible for degree conferral. It is not the intent of the NFPA to require college-level coursework as a prerequisite. The pre-requirement of a high-school diploma meets the intent of this standard.

## Hazardous Materials Awareness

NFPA 1030 6.1.3.2 requires the first responder inspector to meet requirement of NFPA 470 5.2 to recognize and identify the hazardous materials/WMD and hazards involved in a hazardous materials/WMD incident. This does not imply that applicants must have an accredited certification at the NFPA 470 Awareness level. The pre-requirement of a course that meets the requirements established in Chapter 5.2 of NFPA 470 meets the intent of this standard. For example, the following certificates would meet this prerequisite:

- NFPA 470 Hazardous Materials Awareness Level Responder

- AWR160 WMD/Terrorism Awareness for Emergency Responders

- Any course that meets the requirements identified in 29CFR1910.120(q)(6)(i)

There is a sustained emphasis on Hazardous Materials Awareness training, underscoring the importance of preparedness for dealing with hazardous substances. Knowledge of hazardous materials supports students in meeting the requirements of NFPA 1030 6.5.10 in this course.

# Learning Objectives

Learning objectives are clear goals that help instructors plan lessons and activities to focus on the most important parts of the lesson. By having these goals set in the curriculum, instructors can adapt their lessons to meet the needs of their students and the constraints of the learning environment. Learning objectives help instructors and program coordinators measure how well students understand the material through formative evaluations and activities, ensuring students and instructors stays on track.

| ID | Objective | Alignment |
| --- | --- | --- |
| INSPI-LO1 | Locate fire, and life safety codes, given a scenario with a fire safety concern, so that the relevant code is located and cited orally or in writing. | 6.1.3.16 |
| INSPI-LO2 | Cite New Hampshire fire safety statutes, rules, and local ordinances given a fire safety inspection scenario so that relevant legal requirements are identified and communicated orally or in writing. | Local |
| INSPI-LO3 | Apply principles of fire cause and behavior, given a fire and life safety inspection scenario, so that potential fire hazards are identified, and basic fire prevention measures are recommended. | 6.3.1.1 |
| INSPI-LO4 | Employ public relations strategies, given a fire inspection scenario, so that the intent of fire and life safety codes are communicated, concerns are addressed, voluntary compliance is promoted, and fire prevention efforts are enhanced. | 6.3.1.1 6.3.5 |
| INSPI-LO5 | Perform basic professional responsibilities of a fire inspector, given assigned inspection duties, so that duties are executed with attention to detail and professional knowledge and skills are maintained. | 6.3.1.1 |
| INSPI-LO6 | Identify situations requiring permits, given an assigned inspection, so that relevant fire and life safety codes are cited and compliance with fire safety regulations is ensured. | 6.3.4 |
| INSPI-LO7 | Assess fire and life safety hazards related to structural systems and building components, given various occupancy types, so that hazardous materials and finishes are identified, and the applicable codes and standards are referenced. | 6.3.6 |
| INSPI-LO8 | Ensure compliance with fire and life safety requirements, given an occupancy and an inspection assignment, so that occupancy classifications are identified, occupant loads are verified, hazards are identified, and corrective actions are recommended. | 6.3.5, 6.5.3, 6.5.5 |
| INSPI-LO9 | Document inspectional activities, given the results of an inspection, so that violations and corrective actions are accurately described, applicable references are cited, and reports are filed appropriately. | 6.3.1, 6.3.2, 6.3.3, 6.5.1 |
| INSPI-LO10 | Participate in legal proceedings, given the need to testify during a court hearing, so that observed events are accurately recounted, evidence rules are adhered to, and professional demeanor is maintained. | 6.4.2 |
| INSPI-LO11 | Recognize fire and life safety hazards, given various occupancy types, construction components, and building services, so that potential fire behavior, material flame spread, and smoke development is evaluating, and compliance with safety standards is ensured. | 6.3.6, 6.5.2, 6.5.10 |
| INSPI-LO12 | Assess the means of egress from an occupancy, given an occupancy and an inspection assignment, so that deficiencies are identified if present, corrective actions are recommended, and occupants are able to evacuate the building if adverse conditions arise. | 6.5.4 |
| INSPI-LO13 | Assess site access, given an occupancy and an inspection assignment, so that obstructions to emergency response are identified if present, corrective actions are recommended, and emergency response vehicles and personnel are able to safely access water supplies, entryways, and roofs. | 6.5.9 |
| INSPI-LO14 | Assess fire detection and alarm systems, given an occupancy and an inspection assignment, so that system components and types are identified, and initiating mechanisms and occupant notification systems are verified to be in a functional and ready state. | 6.5.7 |
| INSPI-LO15 | Assess the operational status of fixed and portable fire suppression systems, given an occupancy and an inspection assignment, so that water-based, portable, and special agent systems are verified to be in a functional and ready state. | 6.5.6, 6.5.8 |

# Skill Competencies

Skill competencies are specific abilities that students will develop during the program. Competencies help instructors plan lessons and activities. By understanding these competencies, instructors can adapt their lessons to meet the needs of their students and the constraints of the learning environment, including the use of different equipment, tools, or techniques. Skill competencies also help instructors measure how well students are developing their abilities through formative evaluations and practical activities, ensuring everyone stays on track. Students who can perform the skill competencies will demonstrate that they have achieved competence.

| ID | Outcome | Alignment |
| --- | --- | --- |
| INSPI-C1 | Conduct an inspection, given an assignment, so that code violations are identified if present, and an inspection report is completed. | 6.3.1, 6.3.2, 6.3.5 |
| INSPI-C2 | Identify a fire or life safety hazard or concern, given an assigned inspection, so that the applicable code is cited and the need for a permit is identified. | 6.3.6, 6.3.3, 6.3.4, 6.5.1, 6.5.2, 6.5.10 |
| INSPI-C3 | Determine compliance with fire and life safety code, given an assigned inspection, so that the occupancy classification, means of egress, occupant load, and emergency access are verified. | 6.5.3, 6.5.4, 6.5.5, 6.5.9 |
| INSPI-C4 | Determine the operational readiness of existing fire detection and suppression systems, given an assigned inspection, so that deficiencies are identified, documented, and reported. | 6.5.6, 6.5.7, 6.5.8 |

# Content Outline

A content outline is a detailed plan that lists all the modules, blocks (if applicable), lessons and/or practical evolutions that will be covered in a course. It helps instructors by organizing the course material in a logical order, defining the overall range of topics (scope) and the order in which they will be taught (sequence). It helps ensure that each topic builds on the previous one. This helps instructors make sure that they cover all necessary material and teach it in a way that makes sense, allowing students to build their knowledge step by step.

| Topic and Learning Objectives | Std. | Resources |
| --- | --- | --- |
| Module 1: Foundations of Fire and Life Safety Code |  |  |
| NOTE: This module is intended to be delivered in an online asynchronous manner but may be delivered via other methods based on the requirements of the agency delivering instruction. The intent of this module is to provide a foundation of knowledge for First Responder Inspector students and to support non-Fire Service students by providing knowledge that is commonly included in entry-level firefighter training. This module prepares students to meaningfully engage with subsequent modules. |  |  |
| Fire and Life Safety Code (-- minutes) LO1 Locate fire, and life safety codes, given a fire safety concern, so that the relevant code is located and cited properly. Explain the importance of fire and life safety codes. Explain where to access fire and life safety codes. Explain how to navigate the structure of code documents. Explain the process of finding a code path. Note: The First Responder Inspector is not expected to interpret codes or standards. | 6.1.3.16 A.6.3.5 | Materials Link to NFPA.org Excerpts from NFPA 1 and 101 Facilities Classroom Activities Check on learning |
| New Hampshire Fire Safety Statutes and Rules (-- minutes) LO2 Cite New Hampshire fire safety statutes, rules, and local ordinances given a fire safety inspection scenario so that relevant legal requirements are identified and communicated orally or in writing. - Describe the purpose of fire safety regulation at the State and local level. Describe the legal framework for fire safety in New Hampshire. Differentiate between national codes, federal regulations and New Hampshire-specific statutes and rules. Describe how to access New Hampshire fire safety statutes and rules. Describe the role of local fire safety ordinances. Identify the possibility of conflict between different codes and levels of code. Note: The goal of this module is to provide an awareness of the differences between various levels of fire and life safety code, why they are necessary, and how they interact with each other. The First Responder Inspector is not expected to determine which codes apply in various situations. | Local | Materials Excerpts from: - RSA 153:1 VI-a - RSA 153:14 - RSA 154:2 III - Saf-C 6000 - Example local ordinances Facilities Classroom Activities Check on learning |
| Fire Science and Prevention (-- minutes) LO3 Apply principles of fire cause and behavior, given a fire and life safety inspection scenario, so that potential fire hazards are identified, and basic fire prevention measures are recommended. - Explain the fundamental characteristics of fire and its behavior in various environments. Describe common causes of fire in occupancies. Describe how fire prevention principles contribute to fire and life safety. List the classes of fire. Note: The First Responder Inspector needs only the detail and breadth of knowledge regarding fire behavior and dynamics to identify, describe, and explain fire hazards. | 6.3.1.1 6.5.10 | Materials Visual aids Facilities Classroom Activities Check on learning |
| Public Relations (-- minutes) LO4 Employ public relations strategies, given a fire inspection scenario, so that the intent of fire and life safety codes are communicated, concerns are addressed, voluntary compliance is promoted, and fire prevention efforts are enhanced. - Explain the role public relations plays in promoting fire safety and compliance with fire and life safety codes. - Identify strategies for addressing concerns, answering questions, and explaining the reasoning behind fire safety regulations. - Explain how maintaining professionalism can de-escalate situations and foster a positive outcome. - Explain how educating the public contributes to overall fire prevention efforts. | 6.3.1.1 6.3.5 | Materials Visual aids Facilities Classroom Activities Check on learning |
| The Professional Fire Inspector (-- minutes) LO5 Perform professional responsibilities of a first responder inspector, given assigned inspection duties, so that duties are executed with attention to detail, and professional knowledge and skills are maintained. - Describe the roles and responsibilities of inspectional personnel. - Describe safety considerations when conducting inspections. Explain the importance of remaining current with job-related knowledge and skills. List types of professional development opportunities and methods for staying professionally relevant. Note: It is recommended that the following equipment be provided to accomplish assigned duties: flashlight, drafting tools (e.g., scale, rulers, compass, graph paper, and so forth), tape measure, calculator, small mirror, clipboard, photography equipment, Pitot tube, and pressure gauges. Personal protective clothing, such as hard hats, eye protection, boots, coveralls, and so forth, should be available as necessary. (A.6.1.3.12) Note: Remaining current is important for any practitioner in a field. In the rapidly changing and developing field of the fire service this is particularly important. (A.6.1.3.11) | 6.1.3.11 | Materials Visual aids Facilities Classroom Activities Check on learning |

| Topic and Learning Objectives | Std. | Resources |
| --- | --- | --- |
| Module 2: Role and Responsibilities |  |  |
| Prerequisites - Module 1: Foundations of Fire and Life Safety Code NOTE: This module is designed to be delivered in a face-to-face format using a variety of instructional techniques to ensure students engage with the concepts presented and meet the learning objectives. |  |  |
| Introduction to Fire Inspection (-- minutes) LO6 Identify situations requiring permits, given an assigned inspection, so that relevant fire and life safety codes are cited and compliance with fire safety regulations is ensured. - Describe the roles and responsibilities of a First Responder Inspector - Describe the importance of fire and life safety efforts within the community. - Identify situations or conditions requiring permits. - Apply policies and procedures related to permitting. - Cite relevant codes and standards during fire inspections. Note: The First Responder Inspector is not expected to receive, process, or issue permits. | 6.3.4 | Reading Chapter 1: Introduction to First Responder Inspector Materials Visual aids NFPA 1 and 101 Facilities Classroom Activities Identify the need for a permit (PE) |
| Structural Systems and Building Components (-- minutes) LO7 Assess fire and life safety hazards related to structural systems and building components, given various occupancy types, so that hazardous materials and finishes are identified, and the applicable codes and standards are referenced. - Describe types of interior finishes and contents that contribute to fire and life safety hazard. - Identify fire and life safety hazards. - Identify applicable codes and standards. | 6.3.6 | Reading Chapter 3: Fire Growth Materials Visual aids NFPA 1 and 101 Facilities Classroom Activities None |
| Occupancy Classifications (-- minutes) LO8 Ensure compliance with fire and life safety requirements, given an occupancy and an inspection assignment, so that occupancy classifications are identified, occupant loads are verified, hazards are identified, and corrective actions are recommended. - Identify occupancy classification types - Verify occupant loads Note: The First Responder Inspector is not expected to calculate occupancy load. | 6.5.3 6.5.5 | Reading Chapter 2: Types of Occupancies Materials NFPA 101 Chapter 6 Facilities Classroom Occupancy visual aids Activities Classify occupancies (PE3) |
| Performing an Inspection (-- minutes) LO8 Ensure compliance with fire and life safety requirements, given an occupancy and an inspection assignment, so that occupancy classifications are identified, occupant loads are verified, hazards are identified, and corrective actions are recommended. - Perform an inspection - Respond to a complaint related to fire or life safety hazard - Recognize fire or life safety hazards - Recommend actions to correct or remove a fire or life safety hazard Note: The purpose of a complaint investigation is the recognition and correction or removal of a fire or life safety hazard. First Responder Inspectors are not expected to interpret a code to resolve a complaint. | 6.3.5 | Reading Chapter 4: Performing an Inspection Materials Inspection checklist Facilities Occupancy with code violations. (may be simulated) Activities Identify code violations. (PE1) |
| Writing Reports (-- minutes) LO9 Document inspectional activities, given the results of an inspection, so that violations and corrective actions are accurately described, applicable references are cited, and reports are filed appropriately. - Identify violations of code - Cite the applicable code - Identify required actions - Complete inspection reports Note: The concepts within this lesson are intended to be employed and reinforced throughout subsequent lessons and modules. | 6.3.1 6.3.2 6.3.3 6.5.1 | Reading Chapter 10: Writing Reports and Keeping Records Materials Report forms NFPA 1 and 101 Facilities Classroom Activities Complete an inspection report. (PE1) |
| Legal Proceedings (-- minutes) LO10 Participate in legal proceedings, given the need to testify during a court hearing, so that observed events are accurately recounted, evidence rules are adhered to, and professional demeanor is maintained. - List evidence rules - List types of legal proceedings - Demonstrate professional demeanor, including listening and effective communication - Differentiate fact from opinion Note: The First Responder Inspector is expected to serve as a fact witness to provide testimony based on their personal knowledge of the events in a case. The First Responder Inspector will only testify about what they saw or did and will not express opinions. | 6.4.2 | Reading Review relevant sections of: - Chapter 1 - Chapter 4 - Chapter 10 Materials Inspection reports Facilities Classroom Activities None |

| Topic and Learning Objectives | Std. | Resources |
| --- | --- | --- |
| Module 3: Occupancies |  |  |
| Prerequisites - Module 1: Foundations of Fire and Life Safety Code NOTE: This module is designed to be delivered in a face-to-face format using a variety of instructional techniques to ensure students engage with the concepts presented and meet the learning objectives. |  |  |
| Fire Hazard Recognition (-- minutes) LO11 Recognize fire and life safety hazards, given various occupancy types, construction components, and building services, so that potential fire behavior, material flame spread, and smoke development is evaluating, and compliance with safety standards is ensured. - Describe the behavior of fire within a compartment - Describe flame spread and smoke development ratings of - contents - interior finishes - building construction elements - decorations - decorative materials - furnishings - Identify general fire and life safety hazards - Identify fire and life safety hazards specific to occupancy types - Report violations or concerns - Describe safe housekeeping practices | 6.3.6 6.5.2 6.5.10 | Reading Chapter 9: Safe Housekeeping Practices Materials Visual aids NFPA 1 and 101 Facilities Classroom Activities Identify a fire and life safety hazard (PE1) |
| Means of Egress (-- minutes) LO12 Assess the means of egress from an occupancy, given an occupancy and an inspection assignment, so that deficiencies are identified if present, corrective actions are recommended, and occupants are able to evacuate the building if adverse conditions arise. - Identify means of egress elements, including exit access, exit enclosures, exit discharges, stairways, ramps, doors, hardware, exit markings, and illumination. - Describe maintenance requirements of egress elements - Recognize problems with egress elements | 6.5.4 | Reading Chapter 5: Occupancy Safety Materials Visual aids NFPA 1 and 101 Facilities Classroom Activities Verify means of egress (PE3) |
| Emergency Access (-- minutes) LO13 Assess site access, given an occupancy and an inspection assignment, so that obstructions to emergency response are identified if present, corrective actions are recommended, and emergency response vehicles and personnel are able to safely access water supplies, entryways, and roofs. - Describe emergency access and accessibility requirements, including emergency vehicle access roadways, pathway access from roadways to the building, fire department connections, key box facilities, gate access, and door access into structures. - Identify deficiencies and obstructions to emergency access such as blocked roadways, missing or outdated keys in key boxes, locked gates, and inaccessible doors. - Recommend corrective actions | 6.5.9 | Reading Chapter 9: Safe Housekeeping Practices Materials Visual aids NFPA 1 and 101 Facilities Classroom Activities Verify emergency access (PE3) |

| Topic and Learning Objectives | Std. | Resources |
| --- | --- | --- |
| Module 4: Detection and Suppression Systems |  |  |
| Prerequisites - Module 1: Foundations of Fire and Life Safety Code NOTE: This module is designed to be delivered in a face-to-face format using a variety of instructional techniques to ensure students engage with the concepts presented and meet the learning objectives. |  |  |
| Fire Detection Systems (-- minutes) LO14 Assess fire detection and alarm systems, given an occupancy and an inspection assignment, so that system components and types are identified, and initiating mechanisms and occupant notification systems are verified to be in a functional and ready state. - Identify components and operation of fire detection and alarm systems and devices - Cite applicable codes and standards related to fire detection systems | 6.5.7 | Reading Chapter 6: Fire Alarm and Detection Systems Materials Excerpt from NFPA 72 Facilities Activities (PE4) |
| Fire Suppression Systems (-- minutes) LO15 Assess the operational status of fixed and portable fire suppression systems, given an occupancy and an inspection assignment, so that water-based, portable, and special agent systems are verified to be in a functional and ready state. - Describe water supply considerations for fixed fire suppression systems - Describe the function of water based suppression systems - Describe the considerations for portable extinguishers - Describe the function of special agent extinguishing systems - Confirm the operational status of fixed and portable extinguishers in accordance with applicable standards. | 6.5.6 6.5.8 | Reading Chapter 7: Fire Suppression Systems Chapter 8: Portable Fire Extinguishers Materials Excerpts from - NFPA 10, - NFPA 11, - NFPA 12, - NFPA 12A, - NFPA 17, - NFPA 25, - NFPA 72, and - NFPA 2001 Facilities Activities (PE4) |

# Delivery Considerations

For direct delivery, a student to instructor ratio of 1:16 is generally sufficient. However, practical activities may require greater levels of instructor supervision and interaction to ensure student understanding of the lesson materials.

# Standards Map

This map shows where each applicable standard is covered within the curriculum. Standard text has been abridged to suit formatting.

| NFPA® 1030, Chapter 6 First Responder Inspector | Module |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 |
| 6.1.3 General | ● |  |  |  |
| 6.3.1 Prepare correspondence to communicate concerns |  | ● |  |  |
| 6.3.2 Prepare inspection reports |  | ● |  |  |
| 6.3.3 Identify the applicable code or standard |  | ● |  |  |
| 6.3.4 Recognize the need for a permit | ● | ● |  |  |
| 6.3.5 Investigate assigned complaints | ● | ● |  |  |
| 6.3.6 Identify fire and life safety hazards or conditions |  |  | ● |  |
| 6.4.2 Ability to participate in legal proceedings |  | ● |  |  |
| 6.5.1 Determine code compliance |  | ● |  |  |
| 6.5.2 Identify the fire and life safety hazards |  |  | ● |  |
| 6.5.3 Verify occupancy classification of a single-use occupancy |  | ● |  |  |
| 6.5.4 Verify that the means of egress elements are maintained |  |  | ● |  |
| 6.5.5 Verify posted occupant load |  | ● |  |  |
| 6.5.6 Determine the readiness of fixed fire suppression systems |  |  |  | ● |
| 6.5.7 Determine the readiness of detection and alarm systems |  |  |  | ● |
| 6.5.8 Determine the readiness of portable fire extinguishers |  |  |  | ● |
| 6.5.9 Inspect emergency access for an existing site |  |  | ● |  |
| 6.5.10 Recognize a hazardous fire growth potential | ● |  | ● |  |

# Table of Test Specifications

A table of test specifications helps plan and organize a certification exam. It includes information to ensure the test is fair and comprehensive. The table lists the categories that will be tested, aligning each with the relevant standards. It shows the total number of questions on the test and the percentage of questions for each category. Based on these percentages, the table indicates the exact number of questions in each category and specifies questions by knowledge level, showing the number of questions that test recall of facts and those that apply knowledge. Standard text has been abridged to suit formatting.

| NFPA® 1030, Chapter 6 First Responder Inspector | Items | Recall | Apply |
| --- | --- | --- | --- |
|  | # | % | % |
| Category / Topic | Weight | Items | Items |
| 6.1.3 General | % |  |  |
| Administrative Duties |  |  |  |
| 6.3.1 Prepare correspondence to communicate concerns | % |  |  |
| 6.3.2 Prepare inspection reports | % |  |  |
| 6.3.3 Identify the applicable code or standard | % |  |  |
| 6.3.4 Recognize the need for a permit | % |  |  |
| 6.3.5 Investigate assigned complaints | % |  |  |
| 6.3.6 Identify fire and life safety hazards or conditions | % |  |  |
| Legal |  |  |  |
| 6.4.2 Ability to participate in legal proceedings | % |  |  |
| Field Inspection |  |  |  |
| 6.5.1 Determine code compliance | % |  |  |
| 6.5.2 Identify the fire and life safety hazards | % |  |  |
| 6.5.3 Verify occupancy classification of a single-use occupancy | % |  |  |
| 6.5.4 Verify that the means of egress elements are maintained | % |  |  |
| 6.5.5 Verify posted occupant load | % |  |  |
| 6.5.6 Determine the readiness of fixed fire suppression systems | % |  |  |
| 6.5.7 Determine the readiness of detection and alarm systems | % |  |  |
| 6.5.8 Determine the readiness of portable fire extinguishers | % |  |  |
| 6.5.9 Inspect emergency access for an existing site | % |  |  |
| 6.5.10 Recognize a hazardous fire growth potential | % |  |  |

## Assessment Methodology

| Category / Topic | Cognitive | Process | Product | Manip. |
| --- | --- | --- | --- | --- |
| 6.1.3 General |  |  |  |  |
| Administrative Duties |  |  |  |  |
| 6.3.1 Prepare correspondence to communicate concerns |  |  |  |  |
| 6.3.2 Prepare inspection reports |  |  |  |  |
| 6.3.3 Identify the applicable code or standard |  |  |  |  |
| 6.3.4 Recognize the need for a permit |  |  |  |  |
| 6.3.5 Investigate assigned complaints |  |  |  |  |
| 6.3.6 Identify fire and life safety hazards or conditions |  |  |  |  |
| Legal |  |  |  |  |
| 6.4.2 Ability to participate in legal proceedings |  |  |  |  |
| Field Inspection |  |  |  |  |
| 6.5.1 Determine code compliance |  |  |  |  |
| 6.5.2 Identify the fire and life safety hazards |  |  |  |  |
| 6.5.3 Verify occupancy classification of a single-use occupancy |  |  |  |  |
| 6.5.4 Verify that the means of egress elements are maintained |  |  |  |  |
| 6.5.5 Verify posted occupant load |  |  |  |  |
| 6.5.6 Determine the readiness of fixed fire suppression systems |  |  |  |  |
| 6.5.7 Determine the readiness of detection and alarm systems |  |  |  |  |
| 6.5.8 Determine the readiness of portable fire extinguishers |  |  |  |  |
| 6.5.9 Inspect emergency access for an existing site |  |  |  |  |
| 6.5.10 Recognize a hazardous fire growth potential |  |  |  |  |

# Practical Exam Specifications

| Station | Competencies | Alignment |
| --- | --- | --- |
| INSPI-PE1 | Conduct an Inspection Candidates will perform an inspection, identify a fire or life safety hazard or concern, determine compliance with code, provide recommendations for correction, and document the process. | C1, C2, C3 |
| INSPI-PE2 | Inspect Fire Detection and Suppression Systems Candidates will determine the operational readiness of existing fire detection and suppression systems and document the process. | C4 |